## Slide 1
SGEIA
Smart Grid Energy Intelligence Assistant
AI-Powered RAG Pipeline for Power Grid Operations
Tejeswari S K | Prodapt AFDE Capstone | May 2026

## Slide 2
How Data Flows in SGEIA
① User Input
Question typed in plain English
② CSV Datasets
DS1: 60K stability rows + DS2: 2M meter rows
③ Chunking
Each incident = 1 chunk (avg 50 words)
④ Embedding
all-MiniLM-L6-v2 → 384-dim vectors
⑤ Indexing
BM25 keyword index + ChromaDB built
⑥ Vector Storage
ChromaDB saves 200 incident vectors on disk
⑦ Hybrid Search
BM25 + Semantic → RRF fusion → top 8
⑧ LLM Processing
Groq llama-3.1-8b-instant reasons over data
⑨ Output
Validated answer with source citations
stored →
RAG Pipeline — every question flows through all 9 steps

## Slide 3
The Problem Grid Operators Face
Too Many Alerts
Thousands of sensor alerts every day, no unified view
Slow Diagnosis
Hours spent manually tracing fault root causes
No AI Help
SCADA tools show data but cannot explain WHY problems occur
Disconnected Data
Stability data, meter readings, incidents all in separate systems

## Slide 4
SGEIA Solves This
Just type your question in plain English and get a data-backed answer in seconds
Ask
Type your question in plain English
Retrieve
RAG finds matching incidents + stats
Understand
LLM explains with real data & citations

## Slide 5
Why We Used Two Datasets
DS1 — Grid Stability (60K rows)
SUPPLY SIDE
Shows how generators and grid nodes behave.
Features: tau (reaction time), p (power balance), g (price elasticity)
Tells us IF grid is stable and WHY.
DS2 — Smart Meter (2M rows)
DEMAND SIDE
Real household electricity readings.
Features: voltage, current, sub-metering
Tells us WHAT consumers are using and WHERE anomalies occur.
Complete grid understanding needs BOTH supply stability AND demand consumption

## Slide 6
Dataset 1: What Each Column Means
Feature | Plain English Meaning | Why It Matters
tau1-4 | How fast each grid node reacts to changes | Slow reaction = unstable grid
p1 | Power produced by the main generator | Too high relative to consumers = instability
p2, p3, p4 | Power consumed at each node | Negative = taking power from grid
g1-4 | How sensitive each node is to price signals | Low = cannot adjust quickly
stabf | Stable or Unstable label | Target for XGBoost model
stab | Stability margin number | Negative=stable, Positive=unstable
grid_frequency | Hz reading at that moment | Added column - not in original data

## Slide 7
New Columns Added to Datasets — Why
DS1 — New Columns Added
timestamp
Know WHEN each reading occurred
region
Know WHERE (Zone A/B/C/D)
equipment_type
Know WHAT hardware
transformer_status / outage_event
Health and event type
Original DS1 only had physics. Real ops need location & time.
DS2 — New Columns Added
region
Map meter to a grid zone
equipment_type
Label as smart_meter type
transformer_status
Link to local grid health
outage_event / demand_load
Tag unusual readings & total load
Original DS2 had no grid context. These connect consumption to grid zones.

## Slide 8
Step 3: Chunking — Breaking Data into Pieces
200 incident records from grid_incidents_synthetic.csv
Chunk 1
INC-0015 | Zone_A | Critical
Full outage at transformer. Voltage collapsed to 235V. Status: critical...
Chunk 2
INC-0042 | Zone_C | High
Frequency excursion at 50.69Hz. Smart meter bank affected...
Chunk 3
INC-0103 | Zone_B | Medium
Meter dropout in distribution unit. Last reading: 3.77kW...
Each incident = 1 chunk. No splitting needed — descriptions are already 40-80 words.

## Slide 9
Step 4: Embedding — Converting Text to Numbers
"Full outage at transformer in Zone_A..."
all-MiniLM-L6-v2 Model
(runs on CPU, no internet needed)
[0.23, -0.41, 0.87, ... 384 numbers]
WHY this model: Lightweight, fast, works offline (corporate proxy blocks cloud APIs), good quality for technical text.
Each chunk becomes a 384-dimension vector that captures its MEANING, not just its words.

## Slide 10
Steps 5 & 6: Indexing and Storing Vectors
BM25 Keyword Index
Stores words for fast exact matching.
Good for: Zone_A, INC-042, transformer, full_outage
ChromaDB Vector Store
Stores 384-dim vectors on disk permanently.
Good for: finding similar incidents even with different words
Both indexes built from same 200 incidents. Stored on disk — survives server restarts.

## Slide 11
Step 7: Hybrid Search — Finding the Right Incidents
Show critical transformer failures in Zone A
BM25 Search
Finds: INC-015 (Zone_A, transformer), INC-044 (Zone_A), INC-142 (critical)
ChromaDB Semantic
Finds: INC-015, INC-144, INC-061 (similar meaning even with different words)
RRF Fusion — Combines both lists, ranks by combined score → Top 8 results
WHY HYBRID: BM25 catches exact IDs. Semantic catches synonyms. Together = best of both.

## Slide 12
Step 8: LLM — Generating the Answer
User Question
Show critical transformer failures in Zone A
Retrieved Incidents
8 real incident records with IDs, zones, descriptions
DS1 Stability Stats
Health score, XGBoost prediction, SHAP values
DS2 Meter Stats
Voltage range, anomaly count, consumption data
Groq
llama-3.1-8b-instant
Validated
Answer
The LLM reads ALL of this and writes a clear answer citing actual numbers and incident IDs.

## Slide 13
Why XGBoost for Stability Prediction?
Algorithm | Accuracy | Explainable | Handles Imbalance | Speed | Verdict
Logistic Regression | Low | Yes | No | Fast | Not suitable
Neural Network | High | No (black box) | Yes | Slow | Not suitable
Random Forest | Good | Partial | Yes | Medium | Not suitable
XGBoost | High | Yes (SHAP values) | Yes | Fast | CHOSEN
XGBoost gives SHAP values — operators see WHICH feature caused the instability prediction.

## Slide 14
Why Isolation Forest for Anomaly Detection?
No Labels Needed
DS2 has 2M rows with no pre-labelled anomalies. Isolation Forest finds outliers without needing training examples.
Handles Scale
Works efficiently on 2 million rows. K-Means and DBSCAN slow down on datasets this large.
Gives a Score
Returns an anomaly score per reading, not just yes/no. We can rank how unusual each reading is.

## Slide 15
Safety First — 4 Input Guardrail Layers
Layer 1 — Format Check: Is it long enough? Not empty? Under 1000 characters?
Layer 2 — Harmful Content: Violence, threats, weapons, illegal content → BLOCKED immediately
Layer 3 — Domain Check: Not about power grids or energy? → REJECTED with explanation
Layer 4 — PII Masking: Phone numbers, emails, coordinates, IDs → replaced with [PHONE], [EMAIL], [GPS_MASKED]
Output guardrails also scan every LLM response before it reaches the user.

## Slide 16
Quality Check — DeepEval Validation
Gate 1 — Faithfulness: Does the answer use real numbers from the retrieved data? Generic answers fail.
Gate 2 — LLM-as-Judge: A second AI scores the answer 1-5. Only score 3+ passes through.
Gate 3 — Hallucination Check: Does the answer cite actual incident IDs and zone names? If not, flagged.
Answers that fail are retried once with a better prompt before being shown to the user.

## Slide 17
The Live Dashboard
12 widgets, refreshes every 30 seconds from real data
Grid Health Score
Active Incidents
Zone Status
Stability Trend
Frequency Monitor
Voltage Health
Demand vs Capacity
Incident Breakdown
Equipment Status
Anomaly Feed
Agent Activity
Recommendations
Ask questions in plain English in the chat — full RAG pipeline runs for every question.

## Slide 18
What SGEIA Achieves
Hours → Seconds
Root cause diagnosis time
Plain English
No SQL or data science knowledge needed
5 AI Agents
Work together automatically on every question
Every Answer Cited
All answers show which data was used

## Slide 19
What's Next
Phase 1 — NOW: Current system working: DS1+DS2+RAG+XGBoost+Isolation Forest+Guardrails+DeepEval
Phase 2 — NEXT: Connect to live SCADA feeds, real-time streaming every second, automatic anomaly alerts
Phase 3 — FUTURE: Predict faults before they happen, mobile app for field engineers, predictive maintenance

## Slide 20
Thank You
SGEIA — Smart Grid Energy Intelligence Assistant
User Input → CSV → Chunking → Embedding → Indexing → Vector Storage → LLM → Output
DS1 (60K rows) + DS2 (2M rows) — both supply and demand side
XGBoost + Isolation Forest + Hybrid RAG + Groq LLM
4-layer guardrails + DeepEval quality validation
Tejeswari S K | tejeswari.sk@prodapt.com | Prodapt AFDE Capstone | May 2026